ABSTRAK

Pemanasan global berpengaruh terhadap kenyamanan mahkluk hidup, salah satunya manusia. Ketidaknyamanan untuk bekerja salah satunya berhubungan dengan kondisi lingkungan yang panas, apalagi pekerjaan yang membutuhkan tingkat fokus dan pemikiran yang lebih, seperti belajar, riset ilmiah Di Kamar labor Prestasi mesin Universitas Bung Hatta. Untuk mengatasi kondisi yang tidak nyaman tersebut, maka dilakukanlah penghitungan perolehan panas beban pendingin terhadap AC portabel vertikal untuk mencapai kenyamanan ruangan yang kita ingin kan di kamar Laboratorium Prestasi Mesin Universitas Bung Hatta. Dari perolehan panas beban pendingin internal dan ekternal di kamar yang di Jumlah kan menjadi 1321,05 W atau 4507,44 BTU/hr, maka AC portabel vertikal yang  memiliki kapasitas daya sebesar 1PK  atau 9000 BTU/hr. Jadi AC portabel vertikal ini mampu memenuhi kebutuhan dan kenyamanan manusia di kamar laboratorium Prestasi Mesin Universitas Bung Hatta.

ABSTRACT

Global warming are influenced to the comfort of living creatures, one of athem is human. Inconvenience to working one of them related to environmental conditions of heat flow, especially jobs that required a level of focus and thinking more, such as learning, scientific research that Achievement In Room of labor machine Bung Hatta University. To overcome such uncomfortable conditions, then perform the calculation of heat recovery to portable AC cooling load vertically to achieve comfort room that we wanted it in the room Performance Engineering Laboratory University of Bung Hatta. From the acquisition of heat internal and external cooling load in the room at the amount into  1321.05 W or 4507.44 BTU / hr, so the portable air conditioner that has a vertical of power capacity 1PK or 9000 BTU / hr. Then result of  vertical portable air conditioner is able to meet the needs and comfort of humans in the laboratory room Bung Hatta University Engineering Achievement.

Keywords: Air Conditioner, Heat Transfer, Cooling load, Ac portable vertical